

A Joint Venture of Andhra Pradesh Gas Distribution Corporation Ltd. and

Hindustan Petroleum Corporation Ltd

**REPLIES TO THE BIDDER’S QUERIES**

Date: 11.03.2020


**Tender Document No: GGPL/C&P/SR 5000027/2019-20/14 dated 02.03.2020**

**Subject:** Tender for Hiring of Contract for Third Party Inspection of GI Installations, MDPE Pipeline laying including Allied Works of GGPL in East & West Godavari Districts of AP

Replies to the Bidder’s Queries

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **SR. NO.** | **TENDER CLAUSE** | **PAGE NO.** | **BIDDER'S QUERY** | **GGPL'S REPLY** |
| 1 | Clause 4.2, SECTION – V SCOPE OF WORK & JOB SPECIFICATIONS | Page 95 | As a TPI agency we can only verify that statutory permits are in place prior to start of job and cannot ensure the same. M/s GGPL to modify this clause accordingly. | TPI Engineer shall verify and make sure that all the required permissions from concerned Land owning agencies are available with contractor before commencement of work. |
| 2 | Clause 7.2, SECTION – V SCOPE OF WORK & JOB SPECIFICATIONS | Page 97 | Please provide us the total per person cost of STC training and the cost of cards and also let us know the total number of days the training shall be conducted. Is it compulsory for all TPI personnel deployed at site? | GGPL desires TPI Engineers deployed shall be made aware of PNGRB guidelines and T4S standards by the bidder before deploying at site. |
| 3 | Clause 9.2, SECTION – V SCOPE OF WORK & JOB SPECIFICATIONS | Page 98 | Please elaborate about the orientation training program required as per tender | GGPL desires TPI Engineers deployed shall be made aware of PNGRB guidelines and T4S standards by the bidder before deploying at site. |
| 4 | Clause 11.6, SECTION – V SCOPE OF WORK & JOB SPECIFICATIONS | Page 99 | Our HO is in Mumbai and in our case the branch office which shall be coordinating and executing this job (if awarded) shall be Vizag which shall also monitor and control all inspectors deployed at site and hence we request M/s GGPL to modify this clause | Tender Clause remains unchanged |
| 5 |  |  | Whether there will be continuous Inspectors requirement on monthly basis or on call basis based on competency for all the 17 locations as mentioned in the tender. Kindly also confirm the no. of Inspection Engineers required. | Requirement shall be on continuous basis as per the requirement at site. |
| 6 | Clause 2.8, PAYMENT TERMS | Page 104 | As per tender we have to quote on Man-month basis inclusive of all and exclusive of GST. But as per “Terms of TPIA Payment” clause 2.8, it has been indicated that Man-day rate is also applicable and paid for 8 hrs/Man-day. Request you to kindly confirm whether we have to quote separately for Man-day also. | Bidder shall quote on man-month basis |
| 7 | Clause 11.1, SECTION – V SCOPE OF WORK & JOB SPECIFICATIONS | Page 99 | All inspectors deployed shall have motorcycle compulsory with driving licenses. The TPI Engineer shall reside at Deployed work location without fail. Such clause doent exist in any other company. Is it compulsory. | Tender Clause remains unchanged |
| 8 | SECTION – II FINANCIAL BEC | Page 9 | We have annual rate contract with GAIL for three years for T4S audit of ther all natural gas and LPG pipelines. In audit and inspection normally no such financial criteria is set. We request you to review the same. | Tender Clause remains unchanged |
| 9 | SECTION – II TECHNICAL BEC | Page 9 | As per Technical criteria, The Bidder must have possessed valid PNGRB approval  (AND) 2. The Bidder must have completed at least one Single work order for Third Party Inspection in any Natural Gas City Gas Distribution network for a value not less than Rs 15 Lacs (excluding taxes) . Is any one criteria enough or both mandatory. Kindly review the same. | Tender Clause remains unchanged |

All other terms and conditions of tender document remain unchanged



Authorized Signatory